## Sheet1
Safe System of Work for Step Ladder Use
| Manager |  | Job | Number | Date |  | RORQ
| One | Line manager to Complete
1 | Avoid Could the use be avoided (i.e. work from ground level)
2 | Prevent Could a scaffold or podium steps be used? (I.e. cost-time-effort)
3 | Mitigate Can you prevent harm from fall, harness-net-air bag etc.)
| Two | Line manager to Complete
4 | Will the task take longer than 30 minutes ( if yes use other options see 2)
5 | Are there any detrimental environmental conditions( wet/ice/wind/slippery floors)
6 | Do you have unrestricted access
7 | Is a suitable step ladder available to attend the task safely (Height top 3 steps not to be used/Strength able to take load imposed on them/ Non Conductive if electrical task)
Operative
Three
8 | If the step ladder is still the preferred or only access method then
9 | Choose a suitable length and type of step ladder see 7
10 | Does the step ladder have a valid inspection certificate attached.
11 | Have you made a visual inspection to ensure that the ladder is in a safe condition.
If any of these are not correct inform your line manager immediately.
Four
12 | Are you are able to handle it independently or have you obtained help
13 | Can you erect the ladder on a stable and sound surface to enable to reach the work area.
15 | Is the step ladder fully opened and locked
16 | Is the step ladder stable or securely supported by another person
17 | Is it in the correct position to prevent over reaching.( navel must stay within stiles of ladder)
18 | Are barriers placed around area to prevent unauthorised use and access.
19 | Have you got pre fabricated tool holders and tool belts to carry tools and materials.
20 | Is the step ladder long enough maintain at all times a handhold in front (min 1.2mtr above feet)
Five
21 | Remove step ladder and secure back into step ladder store.
22 | Report any damage to the step ladder to your line manager.
Signed Line Manager
Signed Operative
| Failure to follow these procedures may result in disciplinary action. |  |  |  |  | Review Date | 2006-10-28